## P4-Tags.CSV
remark | CSV-Import-Export
remark | Date = Thu Jul 09 14:10:17 2015
remark | Version = RSLogix 5000 v20.01
remark | Owner = SUTD_ITrust
remark | Company = SUTD_ITrust
0.3
TYPE | SCOPE | NAME | DESCRIPTION | DATATYPE | SPECIFIER | ATTRIBUTES
TAG |  | WRIO4:1:C |  | AB:1734_IE4:C:0 |  | (ExternalAccess := Read/Write)
TAG |  | WRIO4:1:I |  | AB:1734_IE4:I:0 |  | (ExternalAccess := Read/Write)
TAG |  | WRIO4:I |  | PS:1734_2SLOT:I:0 |  | (ExternalAccess := Read/Write)
TAG |  | WRIO4:O |  | PS:1734_2SLOT:O:0 |  | (ExternalAccess := Read/Write)
TAG |  | RIO4:0:C |  | AB:1794_IB32:C:0 |  | (ExternalAccess := Read/Write)
TAG |  | RIO4:0:I |  | AB:1794_IB32:I:0 |  | (ExternalAccess := Read/Write)
TAG |  | RIO4:1:C |  | AB:1794_DO16:C:0 |  | (ExternalAccess := Read/Write)
ALIAS |  | RIO4:1:O |  |  | RIO4:O.Data[1] | (RADIX := Binary, ExternalAccess := Read/Write)
TAG |  | RIO4:2:C |  | AB:1794_IE12:C:0 |  | (ExternalAccess := Read/Write)
TAG |  | RIO4:2:I |  | AB:1794_IE12:I:0 |  | (ExternalAccess := Read/Write)
TAG |  | RIO4:2:O |  | AB:1794_IE12:O:0 |  | (ExternalAccess := Read/Write)
TAG |  | RIO4:I |  | AB:1794_AEN_8SLOT:I:0 |  | (ExternalAccess := Read/Write)
TAG |  | RIO4:O |  | AB:1794_AEN_8SLOT:O:0 |  | (ExternalAccess := Read/Write)
TAG |  | P5:I |  | AB:1756_ENET_4SLOT:I:0 |  | (ExternalAccess := Read/Write)
TAG |  | P5:O |  | AB:1756_ENET_4SLOT:O:0 |  | (ExternalAccess := Read/Write)
TAG |  | AIT401_FB |  | AIN_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | AIT401_FB_01 |  | AIN_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | AIT402_FB |  | AIN_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_AIT_401_HRDNSS |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_AIT_401_HRDNSS_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_AIT_402_ORP |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_AIT_402_ORP_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_FIT_401_FLOW |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_FIT_401_FLOW_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_LIT_401_LEVEL |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_LIT_401_LEVEL_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_03 |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_03_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_04 |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_04_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_05 |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_05_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_06 |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_06_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_07 |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_07_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_08 |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_08_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_09 |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_09_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_10 |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_10_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_11 |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | AI_RIO4_SPARE_11_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_DPSH_301_HIGH |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_LS_401_LOW |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_401_AUTO |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_401_FAULT |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_401_RUN |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_402_AUTO |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_402_FAULT |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_402_RUN |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_403_AUTO |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_403_FAULT |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_403_RUN |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_404_AUTO |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_404_FAULT |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_P_404_RUN |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_10 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_11 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_12 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_13 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_14 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_15 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_16 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_17 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_18 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_19 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_20 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_21 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_22 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_23 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_24 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_25 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_26 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_27 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_28 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_29 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_30 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_RIO4_SPARE_31 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_UV_401_AUTO |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_UV_401_FAULT |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_UV_401_RUN |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_UV_402_FAULT |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_UV_402_RUN |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_WIFI_PLC_4 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DI_WIFI_RIO_4 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_P_401_START |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_P_402_START |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_P_403_START |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_P_404_START |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_04 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_05 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_06 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_07 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_08 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_09 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_10 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_11 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_12 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_13 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_14 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_RIO4_SPARE_15 |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | DO_UV_401_START |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | FIT401_FB |  | FIT_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_AIT401 |  | AIN_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_AIT402 |  | AIN_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_FIT401 |  | FIT_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_LIT401 |  | AIN_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_LS401 |  | SWITCH_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_MV501 |  | MV_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_MV502 |  | MV_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_MV503 |  | MV_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_MV504 |  | MV_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_NAHSO3_ORP_DOSING |  | DOSING_SETPOINT_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P401 |  | PMP_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P401_MSG |  | PRECONDITION_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P402 |  | PMP_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P402_MSG |  | PRECONDITION_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P403 |  | PMP_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P403_MSG |  | PRECONDITION_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P404 |  | PMP_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P404_MSG |  | PRECONDITION_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P4_PERMISSIVE |  | AUTOINP_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P4_STATE |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_PLANT |  | PLANT_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_PLANT_AUTO |  | PLANT_AUTO_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_PLANT_PERMISSIVE |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_PLANT_RESET |  | PLANT_AUTO_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P_NAHSO3_ORP_DUTY |  | Duty2_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P_RO_FEED_DUTY |  | Duty2_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_P_UF_FEED_DUTY |  | Duty2_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_RO_HPP_SD |  | AUTOINP_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_START_PLANT |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_UV401 |  | UV_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_UV401_MSG |  | PRECONDITION_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_UV404_MSG |  | PRECONDITION_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | HMI_WIFI |  | WIFI_UDT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | LIT401_FB |  | AIN_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | LIT401_FB_01 |  | AIN_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | Logix_Status |  | Logix_Status_FP |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | LS401_FB |  | SWITCH_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | P401_FB |  | PMP_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | P402_FB |  | PMP_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | P403_FB |  | PMP_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | P404_FB |  | PMP_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | P_NAHSO3_ORP_DUTY_FB |  | Duty2_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | P_RO_FEED_DUTY_FB |  | Duty2_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | REDUNDANT_STATUS |  | RED_STAT |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | TON_FIT401_P1_TM |  | FBD_TIMER |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | TON_FIT401_P2_TM |  | FBD_TIMER |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | TON_FIT401_TM |  | FBD_TIMER |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | UV401_FB |  | UV_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_AIT_401_HRDNSS |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_AIT_401_HRDNSS_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_AIT_402_ORP |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_AIT_402_ORP_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_FIT_401_FLOW |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_FIT_401_FLOW_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_LIT_301_LEVEL |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_LIT_301_LEVEL_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_LIT_401_LEVEL |  | INT |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_LIT_401_LEVEL_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | W_AI_RIO4_SPARE_03_HTY |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _FIT401_Tot_Enb |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _P401_AutoInp |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _P402_AutoInp |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _P403_AutoInp |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _P404_AutoInp |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _P_NAHSO3_ORP_DUTY_AutoInp |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _P_NAHSO3_ORP_DUTY_SR |  | DOMINANT_SET |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | _P_RO_FEED_DUTY_AutoInp |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _P_RO_FEED_DUTY_SR |  | DOMINANT_SET |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | _P_UF_FEED_DUTY_AutoInp |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _UV401_AutoInp |  | BOOL |  | (RADIX := Decimal, Constant := false, ExternalAccess := Read/Write)
TAG |  | _UV_SR |  | DOMINANT_SET |  | (Constant := false, ExternalAccess := Read/Write)
TAG |  | Memory_Message |  | MESSAGE |  | (ExternalAccess := Read/Write, MessageType := CIP Generic, RequestedLength := 12, ConnectedFlag := 2, ConnectionPath := "1, 0", CommTypeCode := 0, ServiceCode := 16#0003, ObjectType := 16#0072, TargetObject := 1, AttributeNumber := 16#0000, LocalIndex := 0, LocalElement := "Logix_Status.MemoryRequestData[0]", DestinationTag := "Logix_Status.MemoryTemp[0]", LargePacketUsage := false)
TAG |  | P5_MV501_MSG |  | MESSAGE |  | (ExternalAccess := Read/Write, MessageType := CIP Data Table Read, RemoteElement := "HMI_MV501", RequestedLength := 1, ConnectedFlag := 1, ConnectionPath := "P5_CONTROLLER", CommTypeCode := 0, LocalIndex := 0, LocalElement := "HMI_MV501", CacheConnections := "TRUE")
TAG |  | P5_MV502_MSG |  | MESSAGE |  | (ExternalAccess := Read/Write, MessageType := CIP Data Table Read, RemoteElement := "HMI_MV502", RequestedLength := 1, ConnectedFlag := 1, ConnectionPath := "P5_CONTROLLER", CommTypeCode := 0, LocalIndex := 0, LocalElement := "HMI_MV502", CacheConnections := "TRUE")
TAG |  | P5_MV503_MSG |  | MESSAGE |  | (ExternalAccess := Read/Write, MessageType := CIP Data Table Read, RemoteElement := "HMI_MV503", RequestedLength := 1, ConnectedFlag := 1, ConnectionPath := "P5_CONTROLLER", CommTypeCode := 0, LocalIndex := 0, LocalElement := "HMI_MV503", CacheConnections := "TRUE")
TAG |  | P5_MV504_MSG |  | MESSAGE |  | (ExternalAccess := Read/Write, MessageType := CIP Data Table Read, RemoteElement := "HMI_MV504", RequestedLength := 1, ConnectedFlag := 1, ConnectionPath := "P5_CONTROLLER", CommTypeCode := 0, LocalIndex := 0, LocalElement := "HMI_MV504", CacheConnections := "TRUE")
TYPE | SCOPE | NAME | DESCRIPTION | DATATYPE | SPECIFIER | ATTRIBUTES
TAG | MainProgram | Duty2_FBD_01 |  | Duty2_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG | MainProgram | PMP_FBD_01 |  | PMP_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG | MainProgram | PMP_FBD_02 |  | PMP_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TAG | MainProgram | UV_FBD_01 |  | UV_FBD |  | (Constant := false, ExternalAccess := Read/Write)
TYPE | SCOPE | NAME | DESCRIPTION | DATATYPE | SPECIFIER | ATTRIBUTES
TAG | AIN_FBD:AOI | WRIO_Enb |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | Raw_RIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | Raw_WRIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | L_Raw_RIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | H_Raw_RIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | L_Raw_WRIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | H_Raw_WRIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | HEU |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | LEU |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | Hty |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | Wifi_Enb |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read Only, Required := false, Visible := true)
TAG | AIN_FBD:AOI | AHH |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | AH |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read Only, Required := false, Visible := true)
TAG | AIN_FBD:AOI | AL |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read Only, Required := false, Visible := true)
TAG | AIN_FBD:AOI | ALL |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | SAHH |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | SAH |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | SAL |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | SALL |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | Simulation |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | RIO_Hty |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | WRIO_Hty |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | AIN_FBD:AOI | Pv |  | REAL |  | (RADIX := Float, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | AIN_FBD:AOI | Sim_PV |  | REAL |  | (RADIX := Float, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | AIN_FBD:AOI | HMI |  | AIN_UDT |  | (Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | AIN_FBD:AOI | SCALE |  | SCALE |  | (Usage := Local, ExternalAccess := None)
TAG | AIN_FBD:AOI | ALM |  | ALARM |  | (Usage := Local, ExternalAccess := None)
TAG | AIN_FBD:AOI | _Raw |  | INT |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | AIN_FBD:AOI | _L_Raw |  | INT |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | AIN_FBD:AOI | _H_Raw |  | INT |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | AIN_FBD:AOI | _Inst_Hty |  | BOOL |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TYPE | SCOPE | NAME | DESCRIPTION | DATATYPE | SPECIFIER | ATTRIBUTES
TAG | Duty2_FBD:AOI | AutoInp |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | Duty2_FBD:AOI | Selection |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | Duty2_FBD:AOI | Start_Pmp1 |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | Duty2_FBD:AOI | Start_Pmp2 |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | Duty2_FBD:AOI | PMP1 |  | PMP_UDT |  | (Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | Duty2_FBD:AOI | PMP2 |  | PMP_UDT |  | (Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | Duty2_FBD:AOI | HMI |  | Duty2_UDT |  | (Usage := InOut, Constant := false, Required := true, Visible := true)
TYPE | SCOPE | NAME | DESCRIPTION | DATATYPE | SPECIFIER | ATTRIBUTES
TAG | FIT_FBD:AOI | WRIO_Enb |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | Raw_RIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | Raw_WRIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | L_Raw_RIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | H_Raw_RIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | L_Raw_WRIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | H_Raw_WRIO |  | INT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | HEU |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | LEU |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | Hty |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | Wifi_Enb |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | AHH |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | AH |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read Only, Required := false, Visible := true)
TAG | FIT_FBD:AOI | AL |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read Only, Required := false, Visible := true)
TAG | FIT_FBD:AOI | ALL |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | SAHH |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | SAH |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | SAL |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | SALL |  | REAL |  | (RADIX := Float, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | Simulation |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | RIO_Hty |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | WRIO_Hty |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | Totaliser_Enb |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | Rst_Totaliser |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | FIT_FBD:AOI | Totaliser |  | REAL |  | (RADIX := Float, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | FIT_FBD:AOI | Pv |  | REAL |  | (RADIX := Float, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | FIT_FBD:AOI | Sim_Pv |  | REAL |  | (RADIX := Float, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | FIT_FBD:AOI | HMI |  | FIT_UDT |  | (Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | FIT_FBD:AOI | SCALE |  | SCALE |  | (Usage := Local, ExternalAccess := None)
TAG | FIT_FBD:AOI | ALM |  | ALARM |  | (Usage := Local, ExternalAccess := None)
TAG | FIT_FBD:AOI | TON |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TAG | FIT_FBD:AOI | _SEC_P |  | BOOL |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | FIT_FBD:AOI | _Inst_Hty |  | BOOL |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | FIT_FBD:AOI | _L_Raw |  | INT |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | FIT_FBD:AOI | _H_Raw |  | INT |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | FIT_FBD:AOI | _Raw |  | INT |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | FIT_FBD:AOI | R_TRIG |  | FBD_ONESHOT |  | (Usage := Local, ExternalAccess := None)
TYPE | SCOPE | NAME | DESCRIPTION | DATATYPE | SPECIFIER | ATTRIBUTES
TAG | MV_FBD:AOI | Auto |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | MV_FBD:AOI | Cmd_Open |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | MV_FBD:AOI | Cmd_Close |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | MV_FBD:AOI | FTO |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | MV_FBD:AOI | FTC |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read Only, Required := false, Visible := true)
TAG | MV_FBD:AOI | AutoInp |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | MV_FBD:AOI | ZSO |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | MV_FBD:AOI | Open_TM |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | MV_FBD:AOI | ZSC |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | MV_FBD:AOI | Close_TM |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | MV_FBD:AOI | Cmd |  | INT |  | (RADIX := Decimal, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | MV_FBD:AOI | HMI |  | MV_UDT |  | (Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | MV_FBD:AOI | TON_Open_TM |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TAG | MV_FBD:AOI | TON_Close_TM |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TYPE | SCOPE | NAME | DESCRIPTION | DATATYPE | SPECIFIER | ATTRIBUTES
TAG | PMP_FBD:AOI | Cmd_Start |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Avl |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Fault |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | FT_Stop |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | FT_Start |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | RunHr |  | REAL |  | (RADIX := Float, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Total_RunHr |  | REAL |  | (RADIX := Float, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | SD |  | DINT |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read Only, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Auto |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | AutoInp |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Remote |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Run |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Trip |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Start_TM |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Stop_TM |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Rst |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Rst_RunHr |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Permissive |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | Shutdown |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | PMP_FBD:AOI | RunMin |  | REAL |  | (RADIX := Float, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | PMP_FBD:AOI | Total_RunMin |  | REAL |  | (RADIX := Float, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | PMP_FBD:AOI | Cmd |  | INT |  | (RADIX := Decimal, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | PMP_FBD:AOI | HMI |  | PMP_UDT |  | (Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | PMP_FBD:AOI | TON_Start_TM |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TAG | PMP_FBD:AOI | TON_Stop_TM |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TAG | PMP_FBD:AOI | _Min_P |  | BOOL |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | PMP_FBD:AOI | TON_Min |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TAG | PMP_FBD:AOI | R_TRIG_SEC |  | FBD_ONESHOT |  | (Usage := Local, ExternalAccess := None)
TYPE | SCOPE | NAME | DESCRIPTION | DATATYPE | SPECIFIER | ATTRIBUTES
TAG | SWITCH_FBD:AOI | Alarm |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | SWITCH_FBD:AOI | Delay |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := true, Visible := true)
TAG | SWITCH_FBD:AOI | Status |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := None, Required := true, Visible := true)
TAG | SWITCH_FBD:AOI | HMI |  | SWITCH_UDT |  | (Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | SWITCH_FBD:AOI | TON_Delay_Sec |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TYPE | SCOPE | NAME | DESCRIPTION | DATATYPE | SPECIFIER | ATTRIBUTES
TAG | UV_FBD:AOI | Cmd_Start |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Avl |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Fault |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | FT_Stop |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | FT_Start |  | BOOL |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | RunHr |  | REAL |  | (RADIX := Float, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Total_RunHr |  | REAL |  | (RADIX := Float, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | SD |  | DINT |  | (RADIX := Decimal, Usage := Output, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Auto |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | AutoInp |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Remote |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Run |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Trip |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Start_TM |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Stop_TM |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Rst |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Rst_RunHr |  | BOOL |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Permissive |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | Shutdown |  | DINT |  | (RADIX := Decimal, Usage := Input, ExternalAccess := Read/Write, Required := false, Visible := true)
TAG | UV_FBD:AOI | RunMin |  | REAL |  | (RADIX := Float, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | UV_FBD:AOI | Total_RunMin |  | REAL |  | (RADIX := Float, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | UV_FBD:AOI | Cmd |  | INT |  | (RADIX := Decimal, Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | UV_FBD:AOI | HMI |  | UV_UDT |  | (Usage := InOut, Constant := false, Required := true, Visible := true)
TAG | UV_FBD:AOI | TON_Start_TM |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TAG | UV_FBD:AOI | TON_Stop_TM |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TAG | UV_FBD:AOI | _Min_P |  | BOOL |  | (RADIX := Decimal, Usage := Local, ExternalAccess := None)
TAG | UV_FBD:AOI | TON_Min |  | FBD_TIMER |  | (Usage := Local, ExternalAccess := None)
TAG | UV_FBD:AOI | R_TRIG_SEC |  | FBD_ONESHOT |  | (Usage := Local, ExternalAccess := None)